**Combined building entry for gas**

for buildings with a basement

Article Code: HSB SKIBFGTN-PESS-PE100-TE DN80 BL1480

Article number: 1990800010

GTIN: 4052487054430

Brand: Hauff-Technik

Combined building entry for gas with gas valve manufactured by Schuck, DN 80, for use in core drills or wall sleeves ID 150 mm.

Dimensions: Core drill/wall sleeve ID: 150 mm; Wall thickness: 240 - 800 mm

Material: Seal insert: stainless steel V2A (AISI 304L); Rubber: EPDM

: Waterproof concrete stress class 1 and 2

Tightness: gastight and watertight to 1.0 bar

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de