Combined building entry for water

for buildings with a basement

Article Code: ROKA WF-TE-ARO DN100/110 BL960

Article number: 1990800090

GTIN: 4052487054461

Brand: Hauff-Technik

Combined building entry for water manufactured by Schuck, DN 100, for use in core drills or wall sleeves ID 200 mm.

Dimensions: Core drill/wall sleeve ID: 200 mm; Wall thickness: 240 - 700 mm

Material: Seal insert: stainless steel V2A (AISI 304L); Rubber: EPDM

Application range: Waterproof concrete stress class 1 and 2

Tightness: gastight and watertight to 1.0 bar

Item: Gebäudeeinführung Wasser

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de