**Combined building entry for gas**

for buildings with a basement

Article Code: HSB SKIBFGT-PESS-PE100-TE DN150 BL1630

Article number: 1990802010

GTIN: 4052487054591

Brand: Hauff-Technik

Single-line building entry system for buildings with a basement, for gas supplies, DN 150, dry installation, for use in core drills or wall sleeves ID 250 mm. Includes gas valve manufactured by Schuck, DN 150.

Dimensions: Core drill/wall sleeve ID: 250 mm; Infinitely adjustable for wall thicknesses 240 - 700 mm

Material: Seal insert: stainless steel V2A (AISI 304L); Rubber: EPDM

: Waterproof concrete stress class 1 and 2

Tightness: gastight and watertight to 1.0 bar

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de