System cover

with sleeve method for polymer spiral duct

Article Code: KES MA150 D

Article number: 2125810000

GTIN: 4052487058070

Brand: Hauff-Technik

System cover with sleeve method for polymer spiral duct. For use with wall insert and polymer flange HSI150, and for connecting ducts. The seal is created using the sleeve method, clamping a rubber sleeve onto both the system cover and the polymer spiral duct with clamping straps. Tested according to FHRK test basis with FHRK quality seal.

Material: System cover: polycarbonate; Clamping nut: PC/PBT blend; Sleeve: EPDM; Clamping straps: W4

Tightness: gastight and watertight to 2.5 bar

Item: Systemdeckel

Features: mechanical fixing (bayonet) and sealing (tension nut) act independently; Bayonet system with backstop and counter screw connection (prevents self-opening)

Technical drawings

KES MA150 D (.PDF)

KES MA150 D (.DWG)

Ctrl + click on the link to open in your browser

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de