Pipe connection set

suitable for Kabuflex/Unicor

Article Code: RAS4

Article number: 5199991115

GTIN: 4052487235105

Brand: Hauff-Technik

For connecting corrugated pipes DN 75 to the single-line building entry system.

Material: Profile seal: EPDM; Double sleeve: PE-HD

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de