**System cover**

with sleeve method for plastic spiral hoses

System cover with sleeve method for plastic spiral hoses. For use in wall insert and polymer flange HSI150 and for connecting plastic spiral hoses. The seal is created with the sleeve method, with a rubber sleeve being clamped onto both the system cover and the plastic spiral hose.

Material: System cover: polycarbonate; Clamping nut: PC/PBT blend; Sleeve: EPDM; Clamping straps: W4

Tightness: gastight and watertight to 2.5 bar

Item: Systemdeckel

Features: Mechanical fixing (bayonet) and seal (clamping nut) act independently; Bayonet system with return lock and locking screw connection (for protection against automatic opening)

Article Code: KES MA150 D

Article number: 2125810000

GTIN: 4052487058070

Brand: Hauff-Technik

**Technical drawings**

[KES MA150 D (.PDF)](https://db.hauff-technik.de/files/119/3/KES-M150-D_20230811_074030907.PDF)

[KES MA150 D (.DWG)](https://db.hauff-technik.de/files/119/3/KES-M150-D.DWG)

Ctrl + click on the link to open in your browser

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de