**Transition sleeve**

for connecting smooth cable ducts

Mechanically stable and elastic sleeve UMS 75-90/102-125 to create a transition from Hateflex spiral hoses 14078 to Hateflex spiral hoses 14090, 14110 or 14125 or to smooth cable ducts with OD 110 mm or OD 125 mm.

Material: Sleeve: EPDM; Clamping straps: stainless steel V2A (AISI 304L)

Features: Gastight and watertight sleeve method also suitable for built-over applications

Article Code: UMS75-90/102-125

Article number: 2128020110

GTIN: 4052487159685

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de