**Closing cover**

for empty wall inserts and aluminium flange

Closing cover for pressure-tight sealing.

Material: System cover: ABS with EPDM wedge seal

Tightness: gastight and watertight to 2.0 bar

Item: Verschlussdeckel

Article Code: HSI90 D

Article number: 2205010000

GTIN: 4052487060851

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de