**Universal gas end cap**

for single-line and multi-line building entry systems

End cap for sand-tight sealing of the MSH/ESH sleeve pipe or for use at the end of the gas duct route.

Dimensions: For duct ID: 63 - 78 mm; For gas lines OD: 32, 40 or 50 mm

Material: NBR

Article Code: ABG63/70/78 1x32/40/50

Article number: 3030300036

GTIN: 4052487156486

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de