**SEGMENTO**

system cover for holding segments

For use in wall insert and plastic flange HSI150. For particularly gentle sealing of cables. ENHolds three segments SEG of your choice for sealing cables OD 5 - 31 mm.

Material: System cover: polycarbonate; Wedge seal: EPDM

Tightness: gastight and watertight to 0.5 bar

Item: SEGMENTO

Features: Bayonet system with return lock (for protection against automatic opening)

Article Code: HSI150 S3

Article number: 3030300088

GTIN: 4052487062046

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de