**Extension sleeve**

for ETGAR building services outlet

For extending empty conduit system of the ETGAR building services outlet. Enables the connection of corrugated pipes with DA 75 mm.

Material: Sleeve: EPDM; Clamping straps: stainless steel V2A (AISI 304L)

Article Code: ETGAR MA70-84/70-84

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de