**Fire protection kit S90**

For core drills and wall sleeves

Fire protection kit for installation in core drills and/or plastic wall sleeves for walls. High degree of flexibility as regards subsequent assignment, no additional wall attachments necessary, no limits on individual cable diameters, weatherproof.

Dimensions: Barrier thickness: min. 280 mm; Wall thickness at and above: 150 mm; For core drills ID: 70 - 300 mm; For plastic wall sleeves ID: 80 - 300 mm

Tests/Standards: DIBT approval Z-19.15-1906 to DIN 4102-9

Features: Special assembly pockets for the assembly of pads on one side; Special assembly pockets for the assembly of pads on one side

Article Code: HSS KB FR HRD

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de