**ETGAR foundation box**

For ETGAR BHP

For routing and distributing electric power and communication lines in the garden, for the safe installation of garden lights, energy charging stations etc. and the connection of ETGAR building services outlet empty conduit systems. Accessory for the ETGAR building services outlet and for the extension set.

Material: Fastening clip: polypropylene (PP); Connection sleeves: EPDM

Features: Ready-to-connect foundation system for installation of electrical terminal devices

Article Code: ETGAR FB

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de