SEGMENTO

system cover for holding segments

Article Code: HSI150 S3

GTIN:  -

Brand: Hauff-Technik

System cover for use in wall insert and plastic flange HSI150 For especially gentle sealing of cables. Holds three segments of your choice for sealing cables OD 5 - 31 mm.

Material: System cover: polycarbonate; Wedge seal: EPDM

Tightness: gastight and watertight to 0.5 bar

Features: bayonet system with backstop (prevents self-opening)

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de