**System cover**

with plug-in socket for smooth cable ducts

Article Code: HSI150 D GSM

GTIN: -

Brand: Hauff-Technik

System cover for use in wall insert and plastic flange HSI150 For connecting smooth cable ducts. Quick plug-in installation without additional connection components. Tested according to FHRK test basis with FHRK quality seal.

Material: System cover: polycarbonate; Clamping nut: PC/PBT blend; Plug-in socket: EPDM or plug-in sleeve: PVC-U

Tightness: gastight and watertight to 0.5 bar

Features: Mechanical fixing (bayonet) and sealing (clamping nut) act independently; Bayonet system with backstop and counter screw connection (prevents self-opening); Elastic plug-in connection with molded rubber part (OD 110 and 125 mm)

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de