**Floor drain**

Article Code: BAL

GTIN: -

Brand: Hauff-Technik

Gas- and watertight connection to the base plate with an integrated lip seal. Suitable for draining gray water in the floor area.

Dimensions: Top frame: 150 x 150 mm; Drain connection: DN 110 and DN 50

Material: Base body: PP; Drain grate: PA; Lip seal: TPE

Application range: Waterproof concrete stress class 1 and 2

Tightness: pressure-rated up to 5,0 bar; radon-proof

Features: integrated odor trap bell; Prevention of clogging of the drain tank through dirt trap screen; quick, tool-less installation

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de