**System cover**

with sleeve method for plastic spiral duct

Article Code: KES MA150 D

GTIN: -

Brand: Hauff-Technik

System cover with sleeve method for plastic spiral hoses. For use with wall insert and polymer flange HSI150, and for connecting ducts The seal is created using the sleeve method, clamping a rubber sleeve onto both the system cover and the plastic spiral hose with clamping straps. Tested according to FHRK test basis with FHRK quality seal.

Material: System cover: polycarbonate; Clamping nut: PC/PBT blend; Sleeve: EPDM; Clamping straps: W4

Tightness: gastight and watertight to 2.5 bar

Features: Mechanical fixing (bayonet) and sealing (clamping nut) act independently; Bayonet system with backstop and counter screw connection (prevents self-opening)

**Technical drawings**

[KES MA150 D (.PDF)](https://db.hauff-technik.de/files/119/3/KES-M150-D_20230811_074030907.PDF)

[KES MA150 D (.DWG)](https://db.hauff-technik.de/files/119/3/KES-M150-D.DWG)

Ctrl + click on the link to open in your browser

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de