**Connection bolt**

Article Code: HEA ASB

GTIN: -

Brand: Hauff-Technik

Connection bolt for screwing into the connection thread for earthing entries or earthing fixed points, can be used to connect a cable shoe.

Dimensions: Length: 75 mm

Material: St37 galvanised or stainless steel V4A (AISI 316L)

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de