**Foundation pipe**

for street lighting poles

Article Code: HFR

GTIN: -

Brand: Hauff-Technik

Stable, ribbed plastic pipe, light in weight so easy to handle.

Material: PVC

Features: the length of the foundation pipe and the position of the drill hole/cable entry can be freely selected

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de