**System cover**

Cable seal with cold shrink technology

Article Code: HSI150 D KS

GTIN: -

Brand: Hauff-Technik

System cover. The cold shrink sleeves offer a wide range of applications and are shrunk onto the cables by the system cover socket without tools. Tested according to FHRK test basis with FHRK quality seal.

Material: System cover with socket: polycarbonate; Clamping nut: PC/PBT blend; Cold shrink tubing: EPDM; Centring strap: EPDM

Tightness: gastight and watertight to 2.5 bar

Features: Mechanical fixing (bayonet) and sealing (clamping nut) act independently; Bayonet system with backstop and counter screw connection (prevents self-opening)

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de