**Connection sleeve**

for extending the spiral duct

Article Code: KES90 MA90-102/90-102

GTIN: -

Brand: Hauff-Technik

Connection sleeve for duct extension or duct connection onto Hateflex spiral duct 14090.

Material: Sleeve: EPDM; Clamping straps: W4

Tightness: gastight and watertight to 2.5 bar

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de