Modular seal

Modular pipe seal

Article Code: GKD

GTIN:  -

Brand: Hauff-Technik

Press seal for sealing new pipes to be installed or pipes that have already been laid in core drills or wall sleeves.

Material: Rubber: EDPM or NBR; Screws and nuts: stainless steel V4A (AISI 316L); Press plates: glass fibre reinforced polyamide

Application range: Waterproof concrete stress class 1 and 2

Tightness: gastight and watertight; radon-proof

Features: with integrated installation control - no torque control key required; no retightening required; nuts moulded into the pressure plate, therefore no loose parts

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de