**Connection/adaptation sleeve**

for single-line and multi-line building entry systems

Article Code: MA75-90/75-90

GTIN: -

Brand: Hauff-Technik

for extending smooth and corrugated pipes Øa 75 - 90 mm.

Material: Sleeve: EPDM; Clamping straps: stainless steel V2A (AISI 304L)

Features: Gas and watertight sleeve technology

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de