**Closing cover**

for empty wall inserts and polymer flanges

Article Code: HSI150 DT

GTIN: -

Brand: Hauff-Technik

Closing cover for pressure-tight sealing. Tested according to FHRK test basis with FHRK quality seal.

Material: Closing cover: ABS with TPE seal

Tightness: gastight and watertight

Features: transparent closing cover with TPE seal; Indicates standing water in the connected cable duct system; integrated predetermined breaking point as a connection point for a drain valve

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de