Sealing set interchangeable insert

for cable sealing at the end of the duct

Article Code: KES150 MA WE160 SG SET

GTIN:  -

Brand: Hauff-Technik

Sealing set with sleeve including split interchangeable insert with segment ring technology for sealing cables with rubber seal at the end of Hateflex spiral duct 14150.

Dimensions: Interchangeable insert: OD 160 mm; Interchangeable insert: OD 100 mm; Maximum configuration: according to variant table

Material: Sleeve: EPDM; Clamping straps: W4; Interchangeable insert: EPDM

Tightness: gastight and watertight to 0.5 bar

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de