**Sealing set interchangeable insert**

for cable sealing at the end of the duct

Article Code: KES90 MA90-102/90-102 WE100 SG 1x18-65

GTIN: -

Brand: Hauff-Technik

Sealing set with sleeve KES-M 90-WE including split interchangeable insert with segment ring technology for sealing cables with a rubber seal technology at the end of Hateflex14090 spiral duct.

Dimensions: Sealing width interchangeable insert: 60 mm; Interchangeable insert: OD 100 mm; Cable Øa: 18 - 65 mm

Material: Sleeve: EPDM; Clamping straps: W4; Flange component, Interchangeable insert: EPDM

Tightness: gastight and watertight to 0.5 bar

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de