**Sleeve cap set**

for district heating multi-line building entry systems

Article Code: MSH FW ZBS1

GTIN: -

Brand: Hauff-Technik

Universal sleeve caps for sleeve pipes /empty conduits with OD 75 mm to max. OD 90 mm (smooth of corrugated), district heating sleeve caps for sleeve pipes/empty conduits with OD 125 mm.

Dimensions: Area of application MS78U: 1 cable/pipe OD 24 - 52 mm; Area of application MS78K: 1 cable OD 13 - 21 mm, 3 cables OD 7 - 13 mm, 1 cable OD 5 - 13 mm; Area of application MS125 FW: 1 district heating cable with OD 75, 90 or 110 mm

Material: Sleeves: EPDM; Clamping straps: stainless steel V2A (AISI 304L)

Features: with segmented ring technology for maximum area of application

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de