**Cable screw connection**

Article Code: KV PG

GTIN: -

Brand: Hauff-Technik

For introducing one or more cables/micropipes in a housing wall. The sealing of cables/micropipes is via a suitable HRD F b30 press seal, assignment options available upon request.

Dimensions: For housing holes Øi: 60 mm (KV-PG 48) or 76 mm (KV-PG 68)

Material: Counter screw and socket: polycarbonate; O-ring: NBR

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de