2-component resin Resinator

expansion resin

Article Code: EH Resinator

GTIN:  -

Brand: Hauff-Technik

For sealing and fixing house entries in concrete and masonry.

Dimensions: Approx. five times the volume of resin after the injection process

Tightness: gastight and watertight to 1.0 bar

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de