**Insertion unit**

For attaching to the basic component

Article Code: 2LINE G-BOX EFT

GTIN: -

Brand: Hauff-Technik

For screwless fixing via latching function. Possibility to insert and remove up to 4 micropipes with diameters of 7, 10 or 12 mm. Openings are sealed at the factory.

Material: ABS

Features: precisely fitting, tool-less snap-on connection with the 2LINE G-BOX basic component

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de