**Pipe connection sleeve**

for connecting smooth cable ducts

Article Code: KES150 MA160-172/140-163 AR126

GTIN: -

Brand: Hauff-Technik

Mechanically stable and elastic sleeve used to connect Hateflex spiral hose 14150 to smooth cable ducts OD 125 mm.

Material: Sleeve: EPDM; Clamping straps: W4; Adapter ring: EPDM

Tightness: gastight and watertight to 2.5 bar

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de