**ETGAR extension set**

for ETGAR BHP

Article Code: HAB ETGAR VLS

GTIN: -

Brand: Hauff-Technik

Extension set for expanding the ETGAR building package for building services outlets. Comprising: 30-m corrugated pipe DN 75 green 4 pieces of extension sleeves 2 pieces of sleeve caps MS75EW 1x24-40+3x7-12 2 pieces of sleeve caps MS75K 1x13-21+3x7-13+1x5-13

Material: Corrugated pipe: PE; Sleeves/caps: EPDM/A2

Tightness: gastight and watertight

**Hauff-Technik GmbH & Co. KG**

**Manufacturer information**

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de