Wall insert

for HSI150 system seals

Article Code: HSI150 1x1 KVB150 S_°

GTIN:  -

Brand: Hauff-Technik

Wall insert for connecting to Hateflex spiral hose 14150. Optional for setting in concrete or for earth-side termination. Additional HSI150 system seals can be used to seal from the wall insert at the end of the duct onto the cables.

Material: Wall insert: ABS; 3-ribbed seal: TPE; Sleeve: EPDM; Clamping straps: W4; Extension pipe: PVC

Application range: Waterproof concrete stress class 1 and 2

Tightness: gastight and watertight to 2.5 bar

Features: injection molded 3-ribbed seal for pressure-tight seal to the concrete

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de