Fire protection kit S90

For core drills and wall sleeves

Article Code: HVS KK

GTIN:  -

Brand: Hauff-Technik

Fire protection kit for installation in core drills and/or plastic wall sleeves for walls. High degree of flexibility as regards subsequent assignment, no additional wall attachments necessary, no limits on individual cable diameters, weatherproof.

Dimensions: Barrier thickness: min. 280 mm; Wall thickness at and above: 150 mm; For core drill holes Øi: 70 - 200 mm; For plastic wall sleeves Øi: 80 - 200 mm

Tests/Standards: DIBT approval Z-19.15-1906 to DIN 4102-9; General type certification Z-19.53-2563

Features: fire protection S90; one-sided installation of fire-stop pads

Hauff-Technik GmbH & Co. KG

Manufacturer information

Hauff-Technik GmbH & Co. KG
Robert-Bosch-Straße 9
89568 Hermaringen, GERMANY

Telefon +49 73 22 13 33 - 0
Fax +49 73 22 13 33 - 999
office@hauff-technik.de
http://www.hauff-technik.de